EWA · InnovatiCS
Associate Degree in AI & Data Science

AI Wind Power Forecasting & Turbine Underperformance Analytics

ACWA Power – Wind Power | ACWA Power

AI & Data Science Capstone Project Brief | Kingdom of Saudi Arabia

# 1. Industry Background & Quantified Problem Statement

Wind generation varies with meteorology, turbine condition, curtailment, and control settings. For this capstone, the synthetic wind portfolio operates at approximately 38% capacity factor, while about 14% of turbine-hours generate at least 10% less power than expected under comparable wind conditions. These periods contribute to an estimated 5–8% annual generation gap.

The project will forecast expected turbine output, identify and explain >10% underperformance, distinguish controllable technical losses from weather, availability, and curtailment, and prioritize interventions that can recover at least 2–3% of annual energy production. The expected-power model target is R² ≥0.90. For a hypothetical 1 GW portfolio at 38% capacity factor, annual generation is about 3.33 TWh, and a 2% recovery represents roughly 66.6 GWh/year.

Academic data note: The baselines and percentages are realistic synthetic assumptions for capstone modeling. They are not presented as confidential ACWA Power performance figures.

# 2. Key Quantified Baselines & Success Criteria

| Metric | Target / Baseline |
| --- | --- |
| Portfolio capacity factor | ~38% |
| Underperforming turbine-hours | ~14% are >10% below expected output |
| Annual generation gap | ~5–8% |
| Model target | Expected-power R² ≥0.90 |
| Business target | Recover ≥2–3% of annual energy production |

# 3. Project Objectives

Predict Expected_Power_kW and short-horizon generation.

Classify Underperformance_Flag when actual power is >10% below expected under eligible conditions.

Separate weather, curtailment, availability, and technical losses.

Detect unusual turbine behavior using SCADA variables.

Rank turbines by recoverable lost MWh and revenue.

Deliver a wind-farm/turbine performance dashboard.

# 4. Dataset Architecture

Dataset size: 1,000,000+ 10-minute turbine SCADA records

Hierarchical structure: Region → Country → Wind Farm → Turbine → Subsystem → Sensor

The supplied dataset contains at least 1,000,000 records and is deliberately designed with realistic data-quality and modeling challenges.

# 5. Expanded Variable Inventory

| Variable Family | Variables |
| --- | --- |
| Identity & hierarchy | Record_ID, Farm_ID, Region, Country, Site_Zone, Turbine_ID, Turbine_Model, Manufacturer, Subsystem_ID, Sensor_ID, Feeder_ID, Substation_ID, Grid_Node_ID, Maintenance_Crew_ID |
| Time | Timestamp, Local_Date, Hour, Day_Of_Week, Month, Season, Maintenance_Window_Flag, Curtailment_Window_Flag, Minutes_Since_Restart |
| Meteorology | Wind_Speed_m_s, Wind_Direction_deg, Hub_Height_Wind_Speed, Gust_Speed, Turbulence_Intensity, Air_Temperature_C, Air_Density_kg_m3, Atmospheric_Pressure_hPa, Humidity_Pct, Precipitation_mm, Shear_Exponent |
| Power / electrical | Actual_Power_kW, Expected_Power_kW, Reactive_Power_kVAR, Generator_Voltage_V, Generator_Current_A, Grid_Frequency_Hz, Power_Factor, Converter_Temperature_C, Transformer_Temperature_C |
| Rotor / control | Rotor_Speed_RPM, Generator_Speed_RPM, Blade_Pitch_A_deg, Blade_Pitch_B_deg, Blade_Pitch_C_deg, Nacelle_Direction_deg, Yaw_Error_deg, Torque_kNm, Tip_Speed_Ratio, Control_Mode |
| Mechanical health | Gearbox_Oil_Temperature_C, Gearbox_Bearing_Temp_C, Main_Bearing_Temp_C, Generator_Bearing_Temp_C, Hydraulic_Pressure_bar, Vibration_DriveTrain_mm_s, Vibration_Tower_mm_s, Oil_Particle_Count |
| Availability / grid | Turbine_Availability_Pct, Grid_Availability_Pct, Alarm_Count_10min, Critical_Alarm_Flag, Stop_Code, Downtime_Minutes, Curtailment_Flag, Curtailment_Reason, Grid_Constraint_Flag |
| Asset / targets | Turbine_Age_Years, Blade_Inspection_Score, Icing_Risk_Index, Dust_Soiling_Index, Wake_Sector, Electricity_Price_USD_MWh, Lost_Energy_MWh, Capacity_Factor_Pct, Power_Deviation_Pct, Underperformance_Flag, Anomaly_Score |

# 6. Required Data Quality & Analytical Problems

1–5% routine SCADA gaps and 8–12% missingness in selected vibration/oil-condition fields.

0.5–2% extreme weather, vibration, rotor-speed and power outliers.

High-cardinality Record_ID, Turbine_ID, Sensor_ID, Stop_Code and crew identifiers.

10-minute timestamps with irregular intervals, duplicates, maintenance and curtailment windows.

Categorical turbine model, manufacturer, control mode, stop code, curtailment reason and wake sector.

Region/farm/turbine/subsystem/sensor hierarchy.

Frozen sensors, negative or impossible power values, mislabeled curtailment and unit/case inconsistencies.

Leakage traps from future-aware expected-power calculations, post-event maintenance and lost-energy outcomes.

# 7. Required Analytical Workflow

Business Understanding and KPI definition

Data Understanding and exploratory analysis

Data Preparation and feature engineering

Baseline modeling

Advanced modeling and hyperparameter tuning

Model evaluation and explainability

Business-impact quantification

Executive dashboard and final presentation

# 8. Model Governance Requirements

Use time-aware and entity-aware train/validation/test splits.

Identify and remove target leakage for the selected prediction horizon.

Document missing-value, outlier, encoding and high-cardinality handling.

Compare baseline and advanced models using statistical and business metrics.

Provide explainability, sensitivity analysis and reproducible code/pipelines.

# 9. Final Deliverables

Business Understanding & KPI Specification

Data Dictionary and Data Quality Report

EDA Report

Data Preparation Pipeline

Baseline and Advanced Models

Model Evaluation & Explainability Report

Executive Dashboard

Business Impact Model

Final Technical Report and Executive Presentation